Mock-up of detector unit of the upper vertical neutron camera with uranium for ITER [[1]](#footnote-1)\*)

DOI: 10.34854/ICPAF.2023.50.2023.1.1.267

1Taskaev A.S., 1Ivantsivskiy М.V., 1Burdakov A.V., 1Shiyankov S.V., 1Ryzhankov I.S., 1Gavrilenko D.E., 1Seryomin V.V., 2Nemtsev G.E.

1Budker Institute of Nuclear Physics SB RAS, Novosibirsk, RF
2ITER center, Moscow, RF

The Vertical Neutron Chamber (VNC) for the ITER will consist of two parts, each of them will contain six detector units, combined into sealed diagnostic modules, equipped with a service vacuum system and a water cooling system. The upper VNC will be installed in the upper port (UP) №18 and should be an integral part of the DSM of this port, the lower VNC is installed in the lower port (LP) №14.

This report demonstrates mock-ups of detector units manufactured at the BINP SB RAS. In 2022, the BINP SB RAS received from the ITER Center a fast neutron detection unit - a sealed radionuclide source Chamber КНТ 34-2 ВШЛК.418221.057 based on U-238. This source is integrated inside a sealed casing and welded. For carrying out such operations with radioactive sources, such as welding, 4 people were specially trained as category “A” personnel in accordance with НРБ-99/2009 СанПиН 2.6.1.2523-09.

1. \*) [abstracts of this report in Russian](http://www.fpl.gpi.ru/Zvenigorod/L/E/ru/JP-Taskaev.docx) [↑](#footnote-ref-1)