X pinch: a point source for point-projection radiography.

Shelkovenko T.A., Pikuz S.A., *Sinars D.B., *Chandler K.M., *Hammer D.A.

P.N. Lebedev Physical Institute,Moscow,Russia
*Laboratory of Plasma Studies, Cornell University,Ithaca,NY , USA

Several methods of using the X pinch as a source of x-ray radiation for the radiography of dense plasmas and other objects are presented. These methods do not use pinholes, instead taking advantage of the small source size (<1 mm,and in some cases <2 µm at the higher energies)and short x-ray emission duration (<2 ns ,and <20 ps in some cases for higher energies) of the X pinch radiation. Detailed measurements of the emission characteristics of X pinches made using different wire materials and in different energy ranges using a set of x-ray diagnostics with high temporal and spatial resolution are presented. The application of the X pinch x-ray source for phase-contrast x-ray radiography of low absorption materials is demonstrated.