ON THE THEORY OF DIAMAGNETIC MEASUREMENTS

I.A. Kotelnikov

Budker Institute of Nuclear Physics, Novosibirsk, Russia, e-mail: I.A.Kotelnikov@inp.nsk.su

A formula that expresses plasma pressure as a function of time through voltage on a diamagnetic loop is derived for a general case when the time for the magnetic flux to escape across conducting wall of vacuum chamber is not small as compared to the plasma confinement time.