THE HEAVY ION BEAM PROBE (HIBP) DIAGNOSTICS DESIGN STUDY FOR T-15M

S.V. Perfilov, A.V. Melnikov

RRC “Kurchatov Institute”, Moscow, Russia

The feasibility study for Heavy Ion Beam Probe (HIBP) diagnostics on T-15M was done aiming to provide the measurements of the radial profiles of plasma potential, density and their fluctuations.

The calculations of the probing beam trajectories were done for typical T-15M parameters: B0 = 2.0 T, Ipl = 2MA. For all calculations we fixed the singly charged Tl+ primary probing ions and Tl++ secondary ions.

Several possible probing schemes were analysed, and the appropriate port combinations were chosen. The trajectory optimisation aiming for the maximal plasma observation with lowest probing energy was done for chosen combinations.

The initial calculation shows that HIBP allows getting radial profiles of T-15M plasma parameters in the low field side of plasma column. The detector line of equal entrance angle connects the centre and the edge of the plasma column with ETl = 700 - 260 keV. This produces the profile on shot-to shot basis. The detector line of equal energy ETl = 550 keV allows us to obtain a series of radial profiles (0.3 <  <1) during single shot with the scan of control voltage. The lower energies provide the shorter peripheral profiles with less deep penetration. The energy range (less than 700 keV for Tl+) leads to using rather compact accelerating and analysing equipment.

The special beam-lines for the primaries and the secondaries are necessary to transfer the particles from the accelerator to plasma through the area of magnetic field and further to a particle energy analyser. The initial design study was done for these beam-lines. It was shown that the control voltages on the beam line steering plates needed to drive the probing ions through diagnostic port is achievable.

The work was supported by DAST Minatom RF, RFBR grants 02-02-17727 and Scientific School-1608.2003.2.