laser and roentgenoptic diagnostics  on the «TULIP» Installation

S.P. Eliseev, V.Ya. Nikulin, A.V. Oginov, A.A. Tikhomirov

P.N. Lebedev Physical Institute of RAS, Moscow, Russia, e-mail: oginov@mail1.lebedev.ru

High-current electric-discharge installation of plasma focus type allowing to perform all-round influence of a high-temperature plasma fluxes, fast ion and electron beams, hard x-ray and neutron radiation on the substances can be used for the development of the modification methods of material properties and creation of new materials [1]. For the optimization of radiation parameters as well as plasma properties investigation it is necessary to use comprehensive techniques for studies of plasmas. In the recent work laser and roentgenoptic methods of plasma diagnostics are introduced being significant part of the measuring system.

The main features of PF-3 facility (W=3÷15 kJ, I ≤ 250 kA, T1/4 ~ 2.5 μs, high repetition rate) define additional requirements for the design and the implementation of diagnostics consisting of laser shadowgraphy and interferometry. The basis of the diagnostic arrangement is a single-pass Makh-Rozhdestvensky interferometer with the varying arm of 1–2 m and with the aperture of 10 cm and Nd:YAG-laser at the second harmonics with the pulse of 120 mJ for 3 ns. The image recording system is based on the controlled CCD-cameras. The PC-based data acquisition system was used for the synchronization of the diagnostics and the installation triggering, for obtaining and processing of images. Measurements using the x-ray spectrograph with the convex mica crystal were carried out. The observation direction was at a 45° to the chamber axis. The spectrograph allowed us to record spectra in the range from 3 to 18 Å with a linear dispersion of 0.15 – 0.05 Å/mm.

The data of the CPS-structure and its evolution were received in the energy range of UPF = 8-16 kV, the current through the chamber ~ 200 – 400 kA, the gas (neon, argon, deuterium) pressure ~ 0.5 – 5 Torr. The evolution of the shock wave at the front of CPS was shown. The radial and axial CPS-velocities, the electron density profiles of the plasma sheath were measured. The x-ray spectra of H- and He-like neon ions and the integral pictures of the discharge in a SXR range of 0.6 – 10 keV were obtained experimentally. The ratio of satellite [2] and intercombinatory lines intensity to the resonant lines results in the electron temperature data (Te~ 200 eV), the ionization degree and plasma density (ne~ 3·1018 cm-3).

This work was supported by RFBR (Grant № 05-08-50052), by Federal agency of Russia for science and innovations (contracts № 02.445.11.7242 and № 02.452.12.7004), and by DPhS RAS project № 1002-251/OFN-14/054-032/06003-516.

References

- L.I. Ivanov, A.I. Dedyurin, I.V. Borovitskaya, O.N. Krokhin V.Ya. Nikulin, S.N. Polukhin, A.A. Tikhomirov, Proc. of the 31st EPS Conference on Plasma Physics, London, ECA Vol. 28G, P-4.151, 2004.

- V.L. Jacobs, E. Behar, B.R. Rozsnyai, J. Quantitative Spectroscopy & Radiative Transfer, 71(2001), p. 397-416.