- A NOVEL STARK BROADENING METHOD TO MEASURE THE ELECTRON TEMPERATURE AND DENSITY SIMULTANEOUSLY IN HIGH-PRESSURE MICROWAVE PLASMAS.

J. Torres, J.M. Palomares, A. Sola, J.J.A.M. van der Mullen1 and A. Gamero

Universidad de Córdoba, Córdoba, Spain
1Permanent Address: Eindhoven University of Technology, The Netherlands

This work discusses a novel method using Stark broadening of emission lines to determine the electron density and temperature in atmospheric-pressure plasmas. Usually, when the electron temperature is previously known, the Stark broadening of certain spectral lines spontaneously emitted by the plasma is used to determine the electron density in a rapid and non-expensive way.

However, comparing two or more broadening of lines can allows us to diagnose the electron density and temperature simultaneously. To carry out this cross-point method, we must know the Stark broadening dependence on the electron temperature and density for different lines. In this work we have used the first three Balmer series hydrogen lines, whose Stark broadenings were calculated by means of a recent micro field model method existing in the bibliography [1].

The experimental study was made in both argon and hydrogen plasma flames. The plasmas were produced at 2.45 GHz by the axial injection torch (TIA) [2], which can operate under different experimental conditions to produce appropriate plasmas for numerous applications.

The flame produced in this way is a two-temperature plasma, so it is not in local thermodynamic equilibrium (LTE). Moreover, by means of the Boltzmann-plot modified with the p-6 law [3], we found that most of the observable atomic states were ruled by the Excitation Saturation Balance [4]. With this method we could also determine the electron temperature.

References

- Gigosos M.A., González M.A., Cardeñoso V. Spectrochim. Acta, part B, 2003, 58, 1489.

- Moisan M., Sauvé G., Zarkrzewski Z., Hubert J. Plasma Sources Sci. Technol., 1994, 3, 584.

- Lao C., Cotrino J., Palmero A., Gamero A., González-Elipe A.R. Eur. Phys. J. D, 2001, 14, 361.

- van der Mullen J.J.A.M. Phys. Rep., 1990, 191, 109.